## Slide 1: MODULE 3: BIOSENSORS AND TELEMEDICINES
Biosensors: Various components of biosensors, Transducers in Biosensors: Various types of transducers; principles and applications, applications of biosensors.
Telemedicine: Block diagram of telemedicine system, origin and development of Telemedicine, Benefits, and limitations of Telemedicine.

## Slide 2: Biosensors
Sensors: A sensor is a device that detects and responds to some type of input from the physical environment. The input can be light, heat, motion, moisture, pressure or any number of other environmental phenomena.
A sensor converts the physical action to be measured into an electrical equivalent and processes it so that the electrical signals can be easily sent and further processed.

## Slide 4: Biosensors: Continued…
In a biosensor, the sensing element which responds to the substance being measured is biological in nature.
It has to be connected to a transducer of some sort so that a visually observable response occurs.

## Slide 10
The important components of a biosensor are
(1) a bioreceptor (e.g., enzymes, antibody, microorganism, or cells); (2) a transducer of the physicochemical signal, and
(3) a signal processor to interpret the information that has been converted